JEPB Monthly Meeting Agenda

Tuesday, January 16, 2024

Physical Location:

5:00 p.m. - Ed Ball Building

214 N. Hogan Street – Conference Room 851

BOARD MEETING AGENDA

CALL TO ORDER 							THOMAS DECK

- CHAIRMAN’S REMARKS

# II. COMMENTS FROM THE PUBLIC

# III. APPROVAL OF MINUTES

- November 20, 2023, Monthly Meeting Summary

IV. CONSENT ORDERS						MELISSA LONG

Air

- CRUSH-IT, Inc.  [AP-23-10 at 6602 Colray Court] Failure to submit relocation notice at least one (1) business day prior to relocation.

Corrective Actions:

Permittee provided relocation form

Consent Order settlement fee:  $600

Consent Order requirements:

Payment only.

Water

- Jacksonville 194 LLC [WP-23-03 at 7557 Arlington Expressway] Discharge of untreated wastewater to the ground, stormwater, and surrounding environment; Failure to operate and maintain the System to remain operational; Allowing stormwater to enter the wastewater sewer; failure to comply with Wastewater Collection/Transmission System design standards; failure to notify EQD of Discharge from the System

Corrective Actions:

Wet well was pumped out and cleaned to remove debris and rags

Consent Order settlement fee:  $3,500

Consent Order requirements:

Payment only

- DD FGL 32.4 LLC [WP-23-45 at 13924 Egrets Nest Drive] Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Failure to comply with erosion and sediment control requirements.

Corrective Actions:

Improved BMPs.

Consent Order settlement fee:  $3,500

Consent Order requirements:

Payment only.

- Lighthouse Jax LLC, and Beauclerc Bay Apartments LTD [WP-23-58 at 9047 San Jose Blvd] Discharge of untreated wastewater to the ground, surrounding environment and surface water; Failure to comply with Wastewater Collection/Transmission System design standards; and Failure to perform required maintenance, Failure to notify EQD of Discharge from the System.

Corrective Actions:

Jetted FM sewer to break up clog.  Aqualis on site to prime and pump down tank.

Consent Order settlement fee:  $8,000 with mitigation potential.

Consent Order requirements:

    - Initial Engineer review within 60 days.

    - Final Engineer report within 120 days or deadline established in report.

    - Submit Monthly Status Reports starting in January.

    - Submit Monthly Maintenance Reports starting in January.

- Meritage Homes of Florida, Inc.  [WP-23-60 at 0 Soutel Drive] Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Failure to comply with erosion and sediment control requirements.

Corrective Actions:

Construction entrance was enhanced, and dewatering pump shut off.

Consent Order settlement fee:  $2,800 [$3,500 less 20% good faith efforts to comply]

Consent Order requirements:

Payment only.

- SREIT Courtney Manor L.L.C. [WP-23-62 at 5620 Collins Road] Discharge of untreated wastewater to the ground, surrounding environment, and stormwater system; Allowing stormwater to enter the wastewater sewer; Failure to notify EQD of Discharge from the System and Failure to provide required records.

Corrective Actions:

Grease blockage was cleared.

Consent Order settlement fee:  $1,000

Consent Order requirements:

      - Within 30 days of the effective date:  Submit Education Campaign.

      - Within 60 days of the effective date:  Submit Jetting/Inspection report.

      - Last Day of each month:  Submit monthly status reports.

- Homestead San Jose MF Owner LLC, RangeWater Development, LLC; Summit Contracting Group, Inc.; Pipeline Constructors, Inc.; Universal Engineering Sciences, LLC. [WP-23-65 at 6765 St. Augustine Road] Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Turbidity discharge to surface water in exceedance of surface water quality standards

Corrective Actions:

Improved BMPs (or restored BMPs)

Consent Order settlement fee:  $3,500

Consent Order requirements:

Payment only

- Charlottes Point Investment Inc. and Smith Trucking Company, Inc.WP-23-66 at 0 Cedar Point Road] Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Failure to comply with erosion and sediment control requirements.

Corrective Actions:

Improved BMPs

Consent Order settlement fee:  $2,300.

Consent Order requirements:

Payment only

- TBR One Riverside Owner, LLC, Live Oak Contracting, LLC, and  W. Gardner, LLC [WP-23-52 at 1 Riverside Avenue] Failure to comply with erosion and sediment control requirements.

Corrective Actions:

Inlet protection installed around onsite inlets.

Consent Order settlement fee: $900.

Consent Order requirements:

Payment only.

V. ENFORCEMENT REPORT 						MELISSA LONG

# VI. PRESENTATION(s)

# VII. NEW BUSINESS

- Noise Variance Application – RD Michaels General Contractor

    - Waive JEPB Rule 1.602(e)

  - Funding Request – Duval County Septic System Vulnerability Assessment

# VIII. PUBLIC HEARING(s)

  - None

# IX. OLD BUSINESS

# X. COMMISSION & JEPB COMMITTEE UPDATES & REPORTS

- Waterways Commission 					ADAM HOYLES

- KJB Commission						DAN DURBEC

- JEPB Water Committee 					TERRY CARR

- JEPB Air Committee 					MICHAEL WILLIAMS

XI.   EPB ADMINISTRATOR REPORT					JAMES RICHARDSON

XII. ENVIRONMENTAL QUALITY DIVISION REPORT 			MELISSA LONG

# XIII. ITEMS REFERRED TO COMMITTEES

# XIV. NEXT SCHEDULED BOARD MEETING(s)

- JEPB Steering Committee – February 12, 2024, at 4:00 pm

- JEPB Monthly Meeting – Tuesday, February 20, 2024, at 5:00 pm

# XV. ADJOURNMENT