RULE 3
2026
Adoptions, Clarifications and Additions


	Rule Section
	Adoption, Clarification/Amended or Addition

	3.101
	Definitions added and amended to help clarify requirements in the Rule
Terms that are defined in Section 3.101 have been capitalized and amended throughout the Rule.  Department name also updated here and throughout the Rule.

	3.101L
	Updates FDOH definition 

	3.101P
	Updates term and code citation

	3.101R
	The facility no longer operates as NVU

	3.101U
	Adds effluent to definition

	3.101Z
	Updates regulatory reference

	3.101DD
	Clarifies CFR reference and updates elements of COJ MS4

	3.103A
	Clarification of methods of notification and resolving conflict with 3.405.A.8

	3.103.E
	Clarifies enforcement around illicit connections

	3.402C through H
	Clarification of the current payment process.  NOTE:  EQD is in the process of establishing a Delegation Agreement with FDEP that will change the payment process.  Rule 3 will have to be  revised after the Delegation Agreement becomes effective.

	3.402.I
	Subsection amended to add clarification for authorized agents and signatures on permit applications

	3.403B.1
	Eliminate confusing sequencing and formatting

	3.403.B.2
	Eliminate confusing sequencing and formatting

	3.403.C
	Updated references

	3.405A.6.a(10)
	Clarification of the intent for this maintenance task

	3.405.A.6.b
	Clarification of what documentation is required

	3.405.A.8
	Clarification that the requirement applies to all components

	3.502
	Clarification

	3.502.B.2
	Clarification to singular entity

	3.601.C
	Emphasizes that root cause is land disturbance and add impacts to MS4.

	3.604.A
	Updated revision date and FDEP regulatory requirement for use of the "Review Manual."

	3.604.B
	Conformity with Civil Plan Review documentation

	3.702.C
	Delete all.  Already defined in 3.101.E

	3.702.E
	Delete all. Already defined in 3.101.Q

	3.702.J
	Delete all. Already defined in 3.101.DD

	3.702.N
	Delete all. Already defined in 3.101.Z

	3.702.P
	(Renumbered to “L”) This restriction of the definition of storm sewer to the MS4  conflicts with 3.706 - Owners (both other MS4s and private entities) of sections of a Storm Sewer connected to the MS4 are responsible for the quality of discharge from their portion of the system and shall coordinate with owners of downstream segments before beginning to modify their system segments.

	3.706
	Language clarification
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